## Table 1
Risk Assessment Questionnaire as per BS EN 62305-2
Please provide the following details to enable us to generate a risk assessment for your project.
Project Name:
Project Type:
Client:
Consultant:
Main Contractor:
MEP Contractor:
S.No | Critical Weighting Factor |  | Customer input
1 | What is the use of the structure?
2 | What is the construction type of the structure i.e. brick, re-in forced concrete etc.?
3 | Dimensions of structure (L x W x H in meters) |  | L= | W= | H=
4 | No. of Service Lines feeding the structure
| a | Power: single / 3 phase, overhead / underground
| b | Telecom, how many lines, overhead / underground
| c | Metallic water pipes
| d | Metallic sewerage pipes
| e | Metallic Data Lines
| f | Any other metallic service entering the structure
5 | Length of Service Lines (from LV side of the transformer to the main LT / panel board) ( Lc )
6 | Location (Cd )
7 | Environment (urban, suburban, rural) (Ce )
8 | How many transformers are feeding the structure?
9 | Are the transformers remote or inside the electrical room in the structure itself?
10 | Special Hazards (low, average, high level of panic) ( hz ) Low: if ≤ 100 inhabitants Average: if ≤ 1000 people High: if ≥ the inhabitants are children or people with less mobility (like school, hospital and elderly home) |  |  | Outside:
Inside:
11 | How many people are occupying the structure and for many hours in a year? |  |  | 8760
12 | Type of finished surface inside the structure (concrete, asphalt, wood, carpet, ceramic, marble etc.) (ra & rz) |  |  | Outside:
Inside:
13 | Any Fire protection provisions? (manual, automatic extinguishing system) (rp) |  |  | Outside:
Inside:
14 | Risk of Fire (high, ordinary, low) (rf) Dependence on the fire load calculation per sq. m area |  |  | Outside:
Inside:
15 | Any Spatial screening? (any re-enforcing bars/stanchions within frame work of structure) (Ks1)
S.No | Critical Weighting Factor |  |  | Customer Input
16 | What is building façade / cladding?
17 | Any details of service lines? (Ks3)
18 | Screened / unscreened cable
19 | Routing (long loop/short looping
20 | Flash Density (N g ) |  |  | 10 Days per year (Qatar & Saudi)
Questionnaire Completed by:
Date: